10A NCAC 15 .0106
INSPECTIONS AND TESTS

(a)  Inspections. At all times during hours of operation, each licensee and registrant shall:

(1)
allow authorized representatives of the agency the opportunity to inspect any radiation machine or source of radiation and the facility or premises where any radiation machine or source of radiation is used or stored; and

(2)
make available to the agency for inspection, upon notice, records maintained pursuant to the rules in this Chapter.

(b)  Tests. Each licensee and registrant shall perform, or shall permit the agency to perform, upon instructions from the agency such tests as the agency deems appropriate or necessary of any:

(1)
radiation machine or source of radiation;

(2)
facility wherein any radiation machine or source of radiation is used or stored;

(3)
radiation detection and monitoring instruments; and

(4)
other equipment and devices used in connection with the utilization or storage of any radiation machine or source of radiation.

History Note:
Authority G.S. 104E‑7; 104E-7(a)(2); 104E-11(a);

Eff. February 1, 1980;

Transferred and Recodified from 10 NCAC 3G .2206 Eff. January 4, 1990;

Amended Eff. June 1, 1993;

Transferred and Recodified from 15A NCAC 11 .0106 Eff. February 1, 2015;

Readopted Eff. May 1, 2025.



NUMPAGES
1
 of 


