10A NCAC 15 .0109
RECORDS

(a) Each registrant shall maintain records documenting:

(1)
the receipt, transfer, and disposal of all radiation machines and sources of radiation;

(2)
operator training; and

(3)
additional record requirements specified elsewhere in the rules of this Chapter.

(b) These records shall be made available for agency review during inspection or upon agency request.

History Note:
Authority G.S. 104E-7; 104E-12(a);

Eff. February 1, 1980;

Transferred and Recodified from 10 NCAC 3G .2210 Eff. January 4, 1990;

Transferred and Recodified from 15A NCAC 11 .0109 Eff. February 1, 2015;

Readopted Eff. May 1, 2025.



NUMPAGES
1
 of 


