SECTION .0200 ‑ REGISTRATION OF RADIATION MACHINES: FACILITIES AND SERVICES

Codifier's Note: 10 NCAC 03G .2300 was transferred to 15A NCAC 11 .0200 effective January 4, 1990. Recodification pursuant to G.S. 143B-279.3.

10A NCAC 15 .0201
PURPOSE AND SCOPE

(a)  This Section provides for the registration of radiation machines, radiation generating devices, facilities, and persons providing other radiological services.

(b)  A person who acquires, owns, possesses, or receives a radiation machine or radiation generating device before receiving a notice of registration in accordance with Rule .0209 of this Section is subject to the requirements of this Chapter.

(c)  In addition to the requirements of this Section, all registrants are subject to the provisions in Sections .0100, .1000, .1100, and .1600 of this Chapter.

(d)  Service providers using radiation machines for demonstration purposes or that provide mobile leasing services are subject to the additional requirements of Rule .0205 of this Section. Service providers that provide those services by bringing radiation machines or radiation generating devices from out of state are subject to the additional requirements of Rule .0208 of this Section.

(e)  Emerging technologies for radiation machines and radiation generating devices that do not meet the equipment requirements of this Chapter are subject to the additional requirements in Rule .0212 of this Section.

(f)  Registrants using industrial radiographic machines are subject to the additional requirements of Section .0500 of this Chapter.

(g)  Registrants using radiation machines for human and veterinary use are subject to the additional requirements in Section .0600 of this Chapter.

(h)  Registrants using radiation machines for non-human use at educational facilities, for forensic medicine, or by service providers for demonstration purposes are subject to the additional requirements of Section .0600 of this Chapter.

(i)  Registrants using ionizing radiation generating devices are subject to the requirements of Section .0800 of this Chapter.

History Note:
Authority G.S. 104E‑7; 104E‑9(8); 104E‑19(a);

Eff. February 1, 1980;

Amended Eff. May 1, 1993; July 1, 1982;

Transferred and Recodified from 15A NCAC 11 .0201 Eff. February 1, 2015;

Pursuant to G.S. 150B-21.3A, rule is necessary without substantive public interest Eff. June 22, 2019;

Amended Eff. October 1, 2025.



NUMPAGES
1
 of 


