10A NCAC 15 .0302
general domestic licenses for byproduct material

(a)  Persons possessing generally licensed items, manufactured or initially transferred pursuant to Subpart B of 10 CFR 32, shall comply with the provisions of 10 CFR 31, which are hereby incorporated by reference including subsequent amendments and editions, as follows:

(1)
Reports, notifications, and responses to agency requests for information required by this Rule shall be made to the agency at the address shown in Rule .0111 of this Chapter unless directed otherwise by the agency;

(2)
10 CFR 31.1, "Purpose and scope;"

(3)
10 CFR 31.2, "Terms and conditions;"

(4)
10 CFR 31.5, "Certain detecting, measuring, gauging, or controlling devices and certain devices for producing light or an ionized atmosphere," except that the fee required by 10 CFR 170.31 shall not apply. Persons using devices described in 31.5(a) shall be registered with the agency. Device registration shall be made in accordance with Paragraph (b) of this Rule and shall contain the information required by 31.5(c)(13)(iii);

(5)
10 CFR 31.6, "General license to install devices generally licensed in 10 CFR 31.5;"

(6)
10 CFR 31.7, "Luminous safety devices in aircraft;"

(7)
10 CFR 31.8, "Americium-241 and radium-226 in the form of calibration or reference sources;"

(8)
10 CFR 31.9, "General license to own byproduct material;"

(9)
10 CFR 31.10, "General license for strontium 90 in ice detection devices;"

(10)
10 CFR 31.11, "General license for use of byproduct material for certain in vitro clinical or laboratory testing," except that persons required by 31.11(b) to register devices with the agency shall comply with the provisions of Paragraph (b) of this Rule;

(11)
10 CFR 31.12, "General license for certain items and self-luminous products containing radium-226;" and

(12)
10 CFR 31.21, "Maintenance of records;"

(b)  Persons registering devices shall use General License Application for Registration forms provided by the agency. These forms are available free of charge at: https://radiation.ncdhhs.gov/rms/rmsgenlicforms.htm. Applications and supporting material shall be submitted to the agency by e-mail at Licensing.ram@dhhs.nc.gov, or at the address shown in Rule .0111 of this Chapter in lieu of the United States Nuclear Regulatory Commission. The following information shall appear on the application:

(1)
facility name, mailing address, physical address if different from the mailing address, and the name of the county where the facility is located;

(2)
type of device;

(3)
device manufacturer;

(4)
device model numbers and serial numbers;

(5)
number of devices being registered, isotopes, and activity;

(6)
indicate if the devices have been leak tested by checking the corresponding check box;

(7)
if the devices have been leak tested, write down the frequency that leak tests are required;

(8)
the name of the person or company performing the leak test;

(9)
describe the method of device disposal; and

(10)
the signature, printed name, title, date the form is signed and telephone number of the contact person.

(c)  Copies of the regulations incorporated by this Rule are available free of charge at https://www.nrc.gov/reading-rm/doc-collections/cfr/part031/.

History Note:
Authority G.S. 104E‑7; 104E‑10(b);

Eff. February 1, 1980;

Amended Eff. June 1, 1989; October 1, 1984; October 1, 1980;

Transferred and Recodified from 15A NCAC 11 .0302 Eff. February 1, 2015;

Amended Eff. March 1, 2017;

Readopted Eff. May 1, 2024.



NUMPAGES
1
 of 


