10A NCAC 15 .0910
VENTILATION SYSTEMS

(a)  Adequate ventilation shall be provided in areas where airborne radioactivity may be produced to comply with Rule .1601 of this Chapter.

(b)  The licensee shall not vent, release or otherwise discharge airborne radioactive material to an unrestricted area in excess of the limits specified in Rule .1601 of this Chapter.

History Note:
Authority G.S. 104E‑7;

Eff. February 1, 1980;

Amended Eff. January 1, 1994; May 1, 1992;

Transferred and Recodified from 15A NCAC 11 .0910 Eff. February 1, 2015;

Readopted Eff. October 1, 2025.



NUMPAGES
1
 of 


