10A NCAC 15 .1417
PROTECTIVE EYEWEAR REQUIRED

(a)  The registrant shall provide protective eyewear to each consumer for use during any use of tanning equipment.

(b)  The protective eyewear in Paragraph (a) of this Rule shall meet the requirements of 21 CFR Part 1040, Section 1040.20(c)(4).

(c)  Tanning facility operators shall instruct the consumer in the proper utilization of the protective eyewear required by this Rule.

(d)  The registrant shall ensure that the protective eyewear required by this Rule is sanitized before each use and shall not rely upon exposure to the ultraviolet radiation produced by the tanning equipment itself to provide such sanitizing.

History Note:
Authority G.S. 104E‑7(a)(7);

Eff. June 1, 1989;

Amended Eff. August 1, 2002; November 1, 1989;

Transferred and Recodified from 15A NCAC 11 .1417 Eff. February 1, 2015;

Pursuant to G.S. 150B-21.3A, rule is necessary without substantive public interest Eff. June 22, 2019.


NUMPAGES
1
 of 


