10A NCAC 29C .0302
LIGHTING

All lighting used to illuminate entrances, exits, service roads, parking aisles, or buildings must be so arranged to avoid glare or reflection into adjacent streets or property.

History Note:
Authority G.S. 122‑95; 143B‑10;

Eff. March 21, 1980;

Pursuant to G.S. 150B-21.3A, rule is necessary without substantive public interest Eff. August 24, 2019.


NUMPAGES
1
 of 


