10A NCAC 42D .0238
CHEMISTRY FACILITIES

The laboratory facilities shall be clean, be temperature and humidity controlled in the instrument areas to allow proper operation and have sufficient lighting at the bench top to perform the required procedures.

History Note:
Authority G.S. 130A‑315;

Eff. December 1, 1991;

Pursuant to G.S. 150B-21.3A, rule is necessary without substantive public interest Eff. December 23, 2017.
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