11 NCAC 08 .1106
STRUCTURAL COMPONENTS

(a)  The home inspector shall inspect structural components including:

(1)
Foundation;

(2)
Floors;

(3)
Walls;

(4)
Columns or piers;

(5)
Ceilings; and

(6)
Roofs.

(b)  The home inspector shall describe the type of:

(1)
Foundation;

(2)
Floor structure;

(3)
Wall structure;

(4)
Columns or piers;

(5)
Ceiling structure; and

(6)
Roof structure.

(c)  The home inspector shall:

(1)
Probe structural components where deterioration is suspected;

(2)
Enter under floor crawl spaces, basements, and attic spaces except when access is obstructed, when entry could damage the property, or when dangerous or adverse situations are suspected;

(3)
Report the methods used to inspect underfloor crawl spaces and attics; and

(4)
Report signs of abnormal or harmful water penetration into the building or signs of abnormal or harmful condensation on building components.

History Note:
Authority G.S. 143-151.49;

Codifier determined that agency findings did not meet criteria for temporary rule Eff. October 15, 1996;

Temporary Adoption Eff. October 24, 1996;

Eff. July 1, 1998;

Amended Eff. April 1, 2005; July 1, 2000;

Readopted Eff. October 1, 2018.



NUMPAGES
1
 of 


