11 NCAC 08 .1108
ROOFING

(a)  The home inspector shall inspect:

(1)
Roof coverings;

(2)
Roof drainage systems;

(3)
Flashings;

(4)
Skylights, chimneys, and roof penetrations; and

(5)
Signs of leaks or abnormal condensation on building components.

(b)  The home inspector shall:

(1)
Describe the type of roof covering materials; and

(2)
Report the methods used to inspect the roofing.

(c)  The home inspector is not required to:

(1)
Walk on the roofing; or

(2)
Inspect attached accessories including solar systems, antennae, and lightning arrestors.

History Note:
Authority G.S. 143-151.49;

Codifier determined that agency findings did not meet criteria for temporary rule Eff. October 15, 1996;

Temporary Adoption Eff. October 24, 1996;

Amended Eff. April 1, 2005; July 1, 1998;

Readopted Eff. October 1, 2018.



NUMPAGES
1
 of 


