12 NCAC 09C .0607
SPEED-MEASURING INSTRUMENT ACCURACY TEST

The purpose of this Rule is to establish the minimum requirements and test methods for determining the accuracy of speed-measuring instruments used by law enforcement agencies to measure the speed of vehicles for enforcement of speed laws and regulations. All requirements and tests shall conform with G.S. 8-50.2 and G.S. 17C-6.

(1)
Accuracy test standard:

(a)
Annual tests of all speed-measuring instruments shall be in conformance with G.S. 8-50.2(c). The results of these tests shall be recorded on forms provided by the Commission.

(b)
Daily tests of all speed-measuring instruments shall be in conformance with G.S. 8-50.2(b)(4) and G.S. 17C-6(13).

(2)
Accuracy requirements and test methods:

(a)
Annual:


The annual tests for accuracy requirements for each specific Radar, Time-Distance, and Lidar speed-measuring instrument, as outlined in Appendix "B" of the Supplement for Speed Measurement Instrument Training Courses published by the North Carolina Justice Academy, are hereby incorporated by reference, and shall automatically include any later amendments and editions of the incorporated material as provided by G.S. 150B-21.6. Copies of this publication may be inspected at the office of the agency:

Criminal Justice Standards Division

North Carolina Department of Justice

114 West Edenton Street

Old Education Building

Post Office Drawer 149

Raleigh, North Carolina 27602

and may be obtained at a cost of seven dollars and twelve cents ($7.12) from the Academy at the following address:

North Carolina Justice Academy

Post Office Box 99

Salemburg, North Carolina 28385

(b)
Daily:


The daily tests for accuracy requirements for each specific Radar, Time-Distance, and Lidar speed-measuring instrument, as outlined in Appendix "C" of the Supplement for Speed Measurement Instrument Training Courses published by the North Carolina Justice Academy, are hereby incorporated by reference, and shall automatically include any later amendments and editions of the incorporated material as provided by G.S. 150B-21.6. Copies of this publication may be inspected at the office of the agency:

Criminal Justice Standards Division

North Carolina Department of Justice

114 West Edenton Street

Old Education Building

Post Office Drawer 149

Raleigh, North Carolina 27602

and may be obtained at a cost of seven dollars and twelve cents ($7.12) from the Academy at the following address:

North Carolina Justice Academy

Post Office Box 99

Salemburg, North Carolina 28385

History Note:
Authority G.S. 8-50.2; 17C-6;

Eff. August 1, 1998;

Amended Eff: May 1, 2004;

Pursuant to G.S. 150B-21.3A, rule is necessary without substantive public interest Eff. May 25, 2019.


NUMPAGES
1
 of 


