13 NCAC 13 .0416
REINSTALLATION OF CERTAIN BOILERS AND PRESSURE VESSELS

(a)  A boiler or pressure vessel that is not constructed pursuant to the accepted design and construction code shall not be reinstalled at any location in this State when the reinstallation is accompanied by a change of ownership of the boiler or pressure vessel unless the owner/user receives authorization in writing from the Chief Inspector.

(b)  Used boilers or pressure vessels shall not be installed unless an application for permission to install the equipment has been approved in writing according to the rules in this Chapter by the Chief Inspector followed by a certificate inspection by a Deputy Inspector.

(c)  Applications to install used or nonstandard boilers or pressure vessels must be made in writing to the Chief Inspector.

History Note:
Authority G.S. 95‑69.11; 95‑69.14;

Eff. May 29, 1981;

Recodified from 13 NCAC 13 .0406 Eff. January 1, 1995;

Amended Eff. January 1, 2009; July 1, 2006; January 1, 1995;

Pursuant to G.S. 150B-21.3A, rule is necessary without substantive public interest Eff. July 22, 2018.


NUMPAGES
1
 of 


