13 NCAC 13 .0702
INSPECTION DURING CONSTRUCTION

The constructor of a nuclear power plant shall have a contract with an Authorized Inspection Agency who will be responsible for ASME Code, Section III third party code inspections. It is the duty of the Authorized Nuclear Inspector (ANI) to conduct all of the inspections specified by the rules of the ASME Code, Section III and ASME QAI-1,in addition to such other inspections and tests as in his judgment are necessary to verify that the equipment is fabricated and installed in accordance with requirements of the ASME Code and these Rules.

History Note:
Authority G.S. 95‑69.11; 95‑69.14;

Eff. May 29, 1981;

Amended Eff. July 1, 2006;

Pursuant to G.S. 150B-21.3A, rule is necessary without substantive public interest Eff. July 22, 2018.


NUMPAGES
1
 of 


