13 NCAC 13 .0703
INSERVICE INSPECTION

The owner/operator of an operating nuclear power plant shall have a contract with an Authorized Inspection Agency who will be responsible for ASME Code, Section III and Section XI third party code inspections. It is the duty of the ANI and Authorized Nuclear In-service Inspector (ANII), as applicable, to make all of the inspections specified by the rules of the ASME Code, Section III, Section XI and ASME QAI-1, and any other inspections and tests necessary to verify that the equipment is inspected, examined, repaired or replaced in accordance with requirements of the ASME Code.

History Note:
Authority G.S. 95‑69.11; 95‑69.14;

Eff. May 29, 1981;

Amended Eff. July 1, 2006;

Pursuant to G.S. 150B-21.3A, rule is necessary without substantive public interest Eff. July 22, 2018.


NUMPAGES
1
 of 


