13 NCAC 15 .0416
NUMBER OF EXITS

At least two exits remote from each other shall be provided from each floor, tier, room or balcony in structures which house amusement devices and which are not places of public assembly.  No exit shall be less than 20 inches wide.

History Note:
Authority G.S. 95‑111.4;

Eff. August 1, 1987;
Pursuant to G.S. 150B-21.3A, rule is necessary without substantive public interest Eff. January 5, 2016.

