13 NCAC 15 .0425
AIR COMPRESSORS AND EQUIPMENT

Air compressors, air compressor tanks and equipment used in connection therewith shall be constructed, equipped and maintained to insure safe operation at all times.  They shall be inspected and tested at least once a year by a qualified person and a record of each inspection shall be kept and made available to the inspector.  Air compressor tanks and other air receivers used in connection with air compressors shall have the maximum allowable working pressure conspicuously marked thereon.

History Note:
Authority G.S. 95‑111.4;

Eff. August 1, 1987;
Pursuant to G.S. 150B-21.3A, rule is necessary without substantive public interest Eff. January 5, 2016.
