21 NCAC 18B .0806
SCOPE OF SP‑EL LICENSE

A special restricted elevator electrical contracting license (SP‑EL) authorizes the licensee to install, maintain, or repair electrical wiring only as an incident to the licensee's elevator, dumbwaiter, escalator, moving walk, or personnel hoist business.  Furthermore, the license authorizes the licensee to install, maintain, or repair only electric wiring that:

(1)
is an integral part of an elevator, dumbwaiter, escalator, moving walk, or personnel hoist;

(2)
is electrically isolated from the building wiring such as a safety switch or circuit breaker, that has been installed, complete with line‑side connections, by others; and

(3)
originates at the load‑side terminals of the protective isolating device, referred to as "beyond the disconnection means."

History Note:
Authority G. S. 87‑42; 87‑43.3;

Eff. October 1, 1988;
Pursuant to G.S. 150B-21.3A, rule is necessary without substantive public interest Eff. February 2, 2016.

