21 NCAC 18B .0810
SCOPE OF SP‑SP LICENSE

A special restricted swimming pool electrical contracting license (SP‑SP) authorizes the licensee to install, maintain, or repair swimming pool bonding work only as an incident to the licensee's business of installing, maintaining, or repairing swimming pools.  Furthermore, the license authorizes the licensee to perform only the:

(1)
Bonding together of all of the following metal parts on or near a swimming pool installation:

(a)
all metal parts of the pool structure, including the reinforcing metal of the pool shell, coping stones, and deck;

(b)
all forming shells;

(c)
all metal fittings within or attached to the pool structure; and

(d)
all metal conduit, metal piping, fixed metal parts.

(2)
Installation of a common bonding grid, bonding together all parts listed in Subdivision (1);

(3)
Installation of the forming shells for lighting fixtures and underwater audio equipment;

(4)
Installation of the conduits extending from the lighting fixture and audio equipment forming shells to deck or junction boxes and the installation of the deck or junction boxes;

(5)
Installation of the lighting fixtures and audio equipment in their respective forming shells from the forming shells to the deck or junction boxes, leaving appropriate leads in the deck or junction boxes to which the circuit conductors can be connected by others; and

(6)
Installation of a bonding conductor and from the point of its connection to the common bonding grid to a readily accessible point at the circulating pump location.

History Note:
Authority G.S. 87‑42; 87‑43.3;

Eff. October 1, 1988;
Pursuant to G.S. 150B-21.3A, rule is necessary without substantive public interest Eff. February 2, 2016.

